## Scenarios
numScenarios | 1 | 100% | 20% | 20% | 20% | 20%

## Investment Cost NREL
Total Cost (4-h System), [$/KWh] | 2020 | 2030 | 2040 | 2050
Low Scenario | 345 | 143 | 115 | 87
Mid Scenario | 345 | 198 | 174 | 149
High Scenario | 345 | 248 | 248 | 248

## Investment Cost
| 2020 | 2030 | 2040 | 2050
S, [$/MVA] | 69000 | 39600 | 34800 | 29800
E, [$, MWh] | 276000 | 158400 | 139200 | 119200

## DownActivation, 2020, Winter
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 13.29% | 11.24% | 0% | 0% | 0% | 0%
1 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 58.68% | 4.055% | 0% | 0% | 9.225% | 0% | 0%
2 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 3.035% | 30.6% | 0% | 0% | 0% | 0% | 0% | 0%
3 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 55.68% | 16.11% | 16.78% | 0% | 0% | 5.042%
4 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 12.5% | 0% | 0% | 0% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## UpActivation, 2020, Winter
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 33.13% | 17.04% | 29.49% | 38.48% | 68.8% | 50% | 45% | 58.33% | 0% | 7.143% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 4.632% | 0%
1 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
2 | 0% | 0% | 51.43% | 47.37% | 15.09% | 22.47% | 36.84% | 24.15% | 37.5% | 3.583% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
3 | 8.651% | 0% | 8.897% | 8.897% | 22.66% | 12.99% | 15.61% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
4 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 6.25% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## DownActivation, 2020, Summer
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 61.35% | 23.85% | 11.52% | 13.54% | 9.942% | 15.62% | 0% | 0% | 0% | 0% | 0% | 30.22% | 0% | 0% | 0%
1 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 14.29% | 0% | 0% | 5.315% | 8.621% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 6.11% | 51.61% | 0% | 0%
2 | 0% | 0% | 0% | 0% | 3.03% | 0% | 0% | 0% | 0% | 0% | 35.87% | 0% | 0% | 0.2419% | 0% | 0% | 0% | 0% | 0% | 0% | 2.337% | 0% | 0% | 0%
3 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 1.889% | 0% | 13.16% | 8.871% | 11.33% | 38.48% | 45.21% | 32.86% | 17.46% | 78.67% | 43.65% | 66.08% | 6.347% | 0% | 0%
4 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 17th, 2021

## UpActivation, 2020, Summer
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 1.84% | 15.73% | 15.73% | 4.494% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 13.33% | 20%
1 | 66% | 55.2% | 0% | 0% | 23.45% | 27.59% | 0% | 0.1143% | 0% | 0% | 0% | 0% | 0% | 0% | 1.956% | 1.567% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
2 | 17.07% | 5.459% | 7.545% | 7.545% | 0% | 5.774% | 0% | 0% | 0% | 0% | 0% | 22.87% | 0.1815% | 0% | 0.1427% | 0.1332% | 33.29% | 0.1332% | 0% | 0% | 0% | 0% | 0% | 0%
3 | 35.29% | 2.691% | 2.503% | 0% | 0% | 3.113% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 13.33% | 3.625%
4 | 14.53% | 0% | 2.458% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 4.014% | 3.418% | 0% | 0% | 0% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 17th, 2021

## DownActivation, 2030, Winter
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 13.29% | 11.24% | 0% | 0% | 0% | 0%
1 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 58.68% | 4.055% | 0% | 0% | 9.225% | 0% | 0%
2 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 3.035% | 30.6% | 0% | 0% | 0% | 0% | 0% | 0%
3 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 55.68% | 16.11% | 16.78% | 0% | 0% | 5.042%
4 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 12.5% | 0% | 0% | 0% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## UpActivation, 2030, Winter
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 33.13% | 17.04% | 29.49% | 38.48% | 68.8% | 50% | 45% | 58.33% | 0% | 7.143% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 4.632% | 0%
1 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
2 | 0% | 0% | 51.43% | 47.37% | 15.09% | 22.47% | 36.84% | 24.15% | 37.5% | 3.583% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
3 | 8.651% | 0% | 8.897% | 8.897% | 22.66% | 12.99% | 15.61% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
4 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 6.25% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## DownActivation, 2030, Summer
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 61.35% | 23.85% | 11.52% | 13.54% | 9.942% | 15.62% | 0% | 0% | 0% | 0% | 0% | 30.22% | 0% | 0% | 0%
1 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 14.29% | 0% | 0% | 5.315% | 8.621% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 6.11% | 51.61% | 0% | 0%
2 | 0% | 0% | 0% | 0% | 3.03% | 0% | 0% | 0% | 0% | 0% | 35.87% | 0% | 0% | 0.2419% | 0% | 0% | 0% | 0% | 0% | 0% | 2.337% | 0% | 0% | 0%
3 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 1.889% | 0% | 13.16% | 8.871% | 11.33% | 38.48% | 45.21% | 32.86% | 17.46% | 78.67% | 43.65% | 66.08% | 6.347% | 0% | 0%
4 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 17th, 2021

## UpActivation, 2030, Summer
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 1.84% | 15.73% | 15.73% | 4.494% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 13.33% | 20%
1 | 66% | 55.2% | 0% | 0% | 23.45% | 27.59% | 0% | 0.1143% | 0% | 0% | 0% | 0% | 0% | 0% | 1.956% | 1.567% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
2 | 17.07% | 5.459% | 7.545% | 7.545% | 0% | 5.774% | 0% | 0% | 0% | 0% | 0% | 22.87% | 0.1815% | 0% | 0.1427% | 0.1332% | 33.29% | 0.1332% | 0% | 0% | 0% | 0% | 0% | 0%
3 | 35.29% | 2.691% | 2.503% | 0% | 0% | 3.113% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 13.33% | 3.625%
4 | 14.53% | 0% | 2.458% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 4.014% | 3.418% | 0% | 0% | 0% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 17th, 2021

## DownActivation, 2040, Winter
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 13.29% | 11.24% | 0% | 0% | 0% | 0%
1 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 58.68% | 4.055% | 0% | 0% | 9.225% | 0% | 0%
2 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 3.035% | 30.6% | 0% | 0% | 0% | 0% | 0% | 0%
3 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 55.68% | 16.11% | 16.78% | 0% | 0% | 5.042%
4 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 12.5% | 0% | 0% | 0% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## UpActivation, 2040, Winter
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 33.13% | 17.04% | 29.49% | 38.48% | 68.8% | 50% | 45% | 58.33% | 0% | 7.143% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 4.632% | 0%
1 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
2 | 0% | 0% | 51.43% | 47.37% | 15.09% | 22.47% | 36.84% | 24.15% | 37.5% | 3.583% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
3 | 8.651% | 0% | 8.897% | 8.897% | 22.66% | 12.99% | 15.61% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
4 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 6.25% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## DownActivation, 2040, Summer
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 61.35% | 23.85% | 11.52% | 13.54% | 9.942% | 15.62% | 0% | 0% | 0% | 0% | 0% | 30.22% | 0% | 0% | 0%
1 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 14.29% | 0% | 0% | 5.315% | 8.621% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 6.11% | 51.61% | 0% | 0%
2 | 0% | 0% | 0% | 0% | 3.03% | 0% | 0% | 0% | 0% | 0% | 35.87% | 0% | 0% | 0.2419% | 0% | 0% | 0% | 0% | 0% | 0% | 2.337% | 0% | 0% | 0%
3 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 1.889% | 0% | 13.16% | 8.871% | 11.33% | 38.48% | 45.21% | 32.86% | 17.46% | 78.67% | 43.65% | 66.08% | 6.347% | 0% | 0%
4 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 17th, 2021

## UpActivation, 2040, Summer
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 1.84% | 15.73% | 15.73% | 4.494% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 13.33% | 20%
1 | 66% | 55.2% | 0% | 0% | 23.45% | 27.59% | 0% | 0.1143% | 0% | 0% | 0% | 0% | 0% | 0% | 1.956% | 1.567% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
2 | 17.07% | 5.459% | 7.545% | 7.545% | 0% | 5.774% | 0% | 0% | 0% | 0% | 0% | 22.87% | 0.1815% | 0% | 0.1427% | 0.1332% | 33.29% | 0.1332% | 0% | 0% | 0% | 0% | 0% | 0%
3 | 35.29% | 2.691% | 2.503% | 0% | 0% | 3.113% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 13.33% | 3.625%
4 | 14.53% | 0% | 2.458% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 4.014% | 3.418% | 0% | 0% | 0% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 17th, 2021

## DownActivation, 2050, Winter
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 13.29% | 11.24% | 0% | 0% | 0% | 0%
1 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 58.68% | 4.055% | 0% | 0% | 9.225% | 0% | 0%
2 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 3.035% | 30.6% | 0% | 0% | 0% | 0% | 0% | 0%
3 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 55.68% | 16.11% | 16.78% | 0% | 0% | 5.042%
4 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 12.5% | 0% | 0% | 0% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## UpActivation, 2050, Winter
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 33.13% | 17.04% | 29.49% | 38.48% | 68.8% | 50% | 45% | 58.33% | 0% | 7.143% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 4.632% | 0%
1 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
2 | 0% | 0% | 51.43% | 47.37% | 15.09% | 22.47% | 36.84% | 24.15% | 37.5% | 3.583% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
3 | 8.651% | 0% | 8.897% | 8.897% | 22.66% | 12.99% | 15.61% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
4 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 6.25% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## DownActivation, 2050, Summer
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 61.35% | 23.85% | 11.52% | 13.54% | 9.942% | 15.62% | 0% | 0% | 0% | 0% | 0% | 30.22% | 0% | 0% | 0%
1 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 14.29% | 0% | 0% | 5.315% | 8.621% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 6.11% | 51.61% | 0% | 0%
2 | 0% | 0% | 0% | 0% | 3.03% | 0% | 0% | 0% | 0% | 0% | 35.87% | 0% | 0% | 0.2419% | 0% | 0% | 0% | 0% | 0% | 0% | 2.337% | 0% | 0% | 0%
3 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 1.889% | 0% | 13.16% | 8.871% | 11.33% | 38.48% | 45.21% | 32.86% | 17.46% | 78.67% | 43.65% | 66.08% | 6.347% | 0% | 0%
4 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 17th, 2021

## UpActivation, 2050, Summer
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 1.84% | 15.73% | 15.73% | 4.494% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 13.33% | 20%
1 | 66% | 55.2% | 0% | 0% | 23.45% | 27.59% | 0% | 0.1143% | 0% | 0% | 0% | 0% | 0% | 0% | 1.956% | 1.567% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
2 | 17.07% | 5.459% | 7.545% | 7.545% | 0% | 5.774% | 0% | 0% | 0% | 0% | 0% | 22.87% | 0.1815% | 0% | 0.1427% | 0.1332% | 33.29% | 0.1332% | 0% | 0% | 0% | 0% | 0% | 0%
3 | 35.29% | 2.691% | 2.503% | 0% | 0% | 3.113% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 13.33% | 3.625%
4 | 14.53% | 0% | 2.458% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 4.014% | 3.418% | 0% | 0% | 0% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 17th, 2021