## Scenarios
numScenarios | 1 | 100% | 20% | 20% | 20% | 20%
Growth-to-2020
2030 | 1.25
2040 | 1.5
2050 | 1.75

## Investment Cost NREL
Total Cost (4-h System), [$/KWh] | 2020 | 2030 | 2040 | 2050
Low Scenario | 345 | 143 | 115 | 87
Mid Scenario | 345 | 198 | 174 | 149
High Scenario | 345 | 248 | 248 | 248

## Investment Cost
| 2020 | 2030 | 2040 | 2050
S, [$/MVA] | 69000 | 39600 | 34800 | 29800
E, [$, MWh] | 276000 | 158400 | 139200 | 119200

## DownActivation, 2020, Winter
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 10% | 9% | 6% | 0% | 0% | 0% | 10% | 11% | 12% | 0% | 0% | 0% | 8% | 5% | 6% | 0% | 0% | 0% | 5% | 9% | 12% | 0% | 0% | 0%
1 | 10.5% | 9.45% | 6.3% | 0% | 0% | 0% | 10.5% | 11.55% | 12.6% | 0% | 0% | 0% | 8.4% | 5.25% | 6.3% | 0% | 0% | 0% | 5.25% | 9.45% | 12.6% | 0% | 0% | 0%
2 | 9.5% | 8.55% | 5.7% | 0% | 0% | 0% | 9.5% | 10.45% | 11.4% | 0% | 0% | 0% | 7.6% | 4.75% | 5.7% | 0% | 0% | 0% | 4.75% | 8.55% | 11.4% | 0% | 0% | 0%
3 | 11% | 9.9% | 6.6% | 0% | 0% | 0% | 11% | 12.1% | 13.2% | 0% | 0% | 0% | 8.8% | 5.5% | 6.6% | 0% | 0% | 0% | 5.5% | 9.9% | 13.2% | 0% | 0% | 0%
4 | 9% | 8.1% | 5.4% | 0% | 0% | 0% | 9% | 9.9% | 10.8% | 0% | 0% | 0% | 7.2% | 4.5% | 5.4% | 0% | 0% | 0% | 4.5% | 8.1% | 10.8% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## DownActivation, 2030, Winter
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 12.5% | 11.25% | 7.5% | 0% | 0% | 0% | 12.5% | 13.75% | 15% | 0% | 0% | 0% | 10% | 6.25% | 7.5% | 0% | 0% | 0% | 6.25% | 11.25% | 15% | 0% | 0% | 0%
1 | 13.12% | 11.81% | 7.875% | 0% | 0% | 0% | 13.12% | 14.44% | 15.75% | 0% | 0% | 0% | 10.5% | 6.562% | 7.875% | 0% | 0% | 0% | 6.562% | 11.81% | 15.75% | 0% | 0% | 0%
2 | 11.88% | 10.69% | 7.125% | 0% | 0% | 0% | 11.88% | 13.06% | 14.25% | 0% | 0% | 0% | 9.5% | 5.938% | 7.125% | 0% | 0% | 0% | 5.938% | 10.69% | 14.25% | 0% | 0% | 0%
3 | 13.75% | 12.38% | 8.25% | 0% | 0% | 0% | 13.75% | 15.13% | 16.5% | 0% | 0% | 0% | 11% | 6.875% | 8.25% | 0% | 0% | 0% | 6.875% | 12.38% | 16.5% | 0% | 0% | 0%
4 | 11.25% | 10.12% | 6.75% | 0% | 0% | 0% | 11.25% | 12.38% | 13.5% | 0% | 0% | 0% | 9% | 5.625% | 6.75% | 0% | 0% | 0% | 5.625% | 10.12% | 13.5% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## DownActivation, 2040, Winter
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 15% | 13.5% | 9% | 0% | 0% | 0% | 15% | 16.5% | 18% | 0% | 0% | 0% | 12% | 7.5% | 9% | 0% | 0% | 0% | 7.5% | 13.5% | 18% | 0% | 0% | 0%
1 | 15.75% | 14.17% | 9.45% | 0% | 0% | 0% | 15.75% | 17.33% | 18.9% | 0% | 0% | 0% | 12.6% | 7.875% | 9.45% | 0% | 0% | 0% | 7.875% | 14.17% | 18.9% | 0% | 0% | 0%
2 | 14.25% | 12.82% | 8.55% | 0% | 0% | 0% | 14.25% | 15.68% | 17.1% | 0% | 0% | 0% | 11.4% | 7.125% | 8.55% | 0% | 0% | 0% | 7.125% | 12.82% | 17.1% | 0% | 0% | 0%
3 | 16.5% | 14.85% | 9.9% | 0% | 0% | 0% | 16.5% | 18.15% | 19.8% | 0% | 0% | 0% | 13.2% | 8.25% | 9.9% | 0% | 0% | 0% | 8.25% | 14.85% | 19.8% | 0% | 0% | 0%
4 | 13.5% | 12.15% | 8.1% | 0% | 0% | 0% | 13.5% | 14.85% | 16.2% | 0% | 0% | 0% | 10.8% | 6.75% | 8.1% | 0% | 0% | 0% | 6.75% | 12.15% | 16.2% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## DownActivation, 2050, Winter
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 17.5% | 15.75% | 10.5% | 0% | 0% | 0% | 17.5% | 19.25% | 21% | 0% | 0% | 0% | 14% | 8.75% | 10.5% | 0% | 0% | 0% | 8.75% | 15.75% | 21% | 0% | 0% | 0%
1 | 18.38% | 16.54% | 11.03% | 0% | 0% | 0% | 18.38% | 20.21% | 22.05% | 0% | 0% | 0% | 14.7% | 9.188% | 11.03% | 0% | 0% | 0% | 9.188% | 16.54% | 22.05% | 0% | 0% | 0%
2 | 16.62% | 14.96% | 9.975% | 0% | 0% | 0% | 16.62% | 18.29% | 19.95% | 0% | 0% | 0% | 13.3% | 8.312% | 9.975% | 0% | 0% | 0% | 8.312% | 14.96% | 19.95% | 0% | 0% | 0%
3 | 19.25% | 17.33% | 11.55% | 0% | 0% | 0% | 19.25% | 21.18% | 23.1% | 0% | 0% | 0% | 15.4% | 9.625% | 11.55% | 0% | 0% | 0% | 9.625% | 17.33% | 23.1% | 0% | 0% | 0%
4 | 15.75% | 14.18% | 9.45% | 0% | 0% | 0% | 15.75% | 17.33% | 18.9% | 0% | 0% | 0% | 12.6% | 7.875% | 9.45% | 0% | 0% | 0% | 7.875% | 14.18% | 18.9% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## UpActivation, 2020, Winter
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 0% | 50% | 52% | 45% | 0% | 0% | 0% | 25% | 32% | 35% | 0% | 0% | 0% | 32% | 35% | 41% | 0% | 0% | 0% | 15% | 15% | 25%
1 | 0% | 0% | 0% | 52.5% | 54.6% | 47.25% | 0% | 0% | 0% | 26.25% | 33.6% | 36.75% | 0% | 0% | 0% | 33.6% | 36.75% | 43.05% | 0% | 0% | 0% | 15.75% | 15.75% | 26.25%
2 | 0% | 0% | 0% | 47.5% | 49.4% | 42.75% | 0% | 0% | 0% | 23.75% | 30.4% | 33.25% | 0% | 0% | 0% | 30.4% | 33.25% | 38.95% | 0% | 0% | 0% | 14.25% | 14.25% | 23.75%
3 | 0% | 0% | 0% | 55% | 57.2% | 49.5% | 0% | 0% | 0% | 27.5% | 35.2% | 38.5% | 0% | 0% | 0% | 35.2% | 38.5% | 45.1% | 0% | 0% | 0% | 16.5% | 16.5% | 27.5%
4 | 0% | 0% | 0% | 45% | 46.8% | 40.5% | 0% | 0% | 0% | 22.5% | 28.8% | 31.5% | 0% | 0% | 0% | 28.8% | 31.5% | 36.9% | 0% | 0% | 0% | 13.5% | 13.5% | 22.5%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## UpActivation, 2030, Winter
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 0% | 62.5% | 65% | 56.25% | 0% | 0% | 0% | 31.25% | 40% | 43.75% | 0% | 0% | 0% | 40% | 43.75% | 51.25% | 0% | 0% | 0% | 18.75% | 18.75% | 31.25%
1 | 0% | 0% | 0% | 65.62% | 68.25% | 59.06% | 0% | 0% | 0% | 32.81% | 42% | 45.94% | 0% | 0% | 0% | 42% | 45.94% | 53.81% | 0% | 0% | 0% | 19.69% | 19.69% | 32.81%
2 | 0% | 0% | 0% | 59.38% | 61.75% | 53.44% | 0% | 0% | 0% | 29.69% | 38% | 41.56% | 0% | 0% | 0% | 38% | 41.56% | 48.69% | 0% | 0% | 0% | 17.81% | 17.81% | 29.69%
3 | 0% | 0% | 0% | 68.75% | 71.5% | 61.88% | 0% | 0% | 0% | 34.38% | 44% | 48.12% | 0% | 0% | 0% | 44% | 48.12% | 56.38% | 0% | 0% | 0% | 20.62% | 20.62% | 34.38%
4 | 0% | 0% | 0% | 56.25% | 58.5% | 50.63% | 0% | 0% | 0% | 28.12% | 36% | 39.38% | 0% | 0% | 0% | 36% | 39.38% | 46.12% | 0% | 0% | 0% | 16.88% | 16.88% | 28.12%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## UpActivation, 2040, Winter
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 0% | 75% | 78% | 67.5% | 0% | 0% | 0% | 37.5% | 48% | 52.5% | 0% | 0% | 0% | 48% | 52.5% | 61.5% | 0% | 0% | 0% | 22.5% | 22.5% | 37.5%
1 | 0% | 0% | 0% | 78.75% | 81.9% | 70.88% | 0% | 0% | 0% | 39.38% | 50.4% | 55.12% | 0% | 0% | 0% | 50.4% | 55.12% | 64.58% | 0% | 0% | 0% | 23.62% | 23.62% | 39.38%
2 | 0% | 0% | 0% | 71.25% | 74.1% | 64.12% | 0% | 0% | 0% | 35.62% | 45.6% | 49.87% | 0% | 0% | 0% | 45.6% | 49.87% | 58.42% | 0% | 0% | 0% | 21.38% | 21.38% | 35.62%
3 | 0% | 0% | 0% | 82.5% | 85.8% | 74.25% | 0% | 0% | 0% | 41.25% | 52.8% | 57.75% | 0% | 0% | 0% | 52.8% | 57.75% | 67.65% | 0% | 0% | 0% | 24.75% | 24.75% | 41.25%
4 | 0% | 0% | 0% | 67.5% | 70.2% | 60.75% | 0% | 0% | 0% | 33.75% | 43.2% | 47.25% | 0% | 0% | 0% | 43.2% | 47.25% | 55.35% | 0% | 0% | 0% | 20.25% | 20.25% | 33.75%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## UpActivation, 2050, Winter
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 0% | 62.5% | 65% | 56.25% | 0% | 0% | 0% | 31.25% | 40% | 43.75% | 0% | 0% | 0% | 40% | 43.75% | 51.25% | 0% | 0% | 0% | 18.75% | 18.75% | 31.25%
1 | 0% | 0% | 0% | 65.62% | 68.25% | 59.06% | 0% | 0% | 0% | 32.81% | 42% | 45.94% | 0% | 0% | 0% | 42% | 45.94% | 53.81% | 0% | 0% | 0% | 19.69% | 19.69% | 32.81%
2 | 0% | 0% | 0% | 59.38% | 61.75% | 53.44% | 0% | 0% | 0% | 29.69% | 38% | 41.56% | 0% | 0% | 0% | 38% | 41.56% | 48.69% | 0% | 0% | 0% | 17.81% | 17.81% | 29.69%
3 | 0% | 0% | 0% | 68.75% | 71.5% | 61.88% | 0% | 0% | 0% | 34.38% | 44% | 48.12% | 0% | 0% | 0% | 44% | 48.12% | 56.38% | 0% | 0% | 0% | 20.62% | 20.62% | 34.38%
4 | 0% | 0% | 0% | 56.25% | 58.5% | 50.63% | 0% | 0% | 0% | 28.12% | 36% | 39.38% | 0% | 0% | 0% | 36% | 39.38% | 46.12% | 0% | 0% | 0% | 16.88% | 16.88% | 28.12%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## DownActivation, 2020, Summer
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 8% | 7% | 5% | 0% | 0% | 0% | 8% | 9% | 10% | 0% | 0% | 0% | 7% | 6% | 7% | 0% | 0% | 0% | 6% | 8% | 10% | 0% | 0% | 0%
1 | 8.4% | 7.35% | 5.25% | 0% | 0% | 0% | 8.4% | 9.45% | 10.5% | 0% | 0% | 0% | 7.35% | 6.3% | 7.35% | 0% | 0% | 0% | 6.3% | 8.4% | 10.5% | 0% | 0% | 0%
2 | 7.6% | 6.65% | 4.75% | 0% | 0% | 0% | 7.6% | 8.55% | 9.5% | 0% | 0% | 0% | 6.65% | 5.7% | 6.65% | 0% | 0% | 0% | 5.7% | 7.6% | 9.5% | 0% | 0% | 0%
3 | 8.8% | 7.7% | 5.5% | 0% | 0% | 0% | 8.8% | 9.9% | 11% | 0% | 0% | 0% | 7.7% | 6.6% | 7.7% | 0% | 0% | 0% | 6.6% | 8.8% | 11% | 0% | 0% | 0%
4 | 7.2% | 6.3% | 4.5% | 0% | 0% | 0% | 7.2% | 8.1% | 9% | 0% | 0% | 0% | 6.3% | 5.4% | 6.3% | 0% | 0% | 0% | 5.4% | 7.2% | 9% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 17th, 2021

## DownActivation, 2030, Summer
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 10% | 8.75% | 6.25% | 0% | 0% | 0% | 10% | 11.25% | 12.5% | 0% | 0% | 0% | 8.75% | 7.5% | 8.75% | 0% | 0% | 0% | 7.5% | 10% | 12.5% | 0% | 0% | 0%
1 | 10.5% | 9.188% | 6.562% | 0% | 0% | 0% | 10.5% | 11.81% | 13.12% | 0% | 0% | 0% | 9.188% | 7.875% | 9.188% | 0% | 0% | 0% | 7.875% | 10.5% | 13.12% | 0% | 0% | 0%
2 | 9.5% | 8.312% | 5.938% | 0% | 0% | 0% | 9.5% | 10.69% | 11.88% | 0% | 0% | 0% | 8.312% | 7.125% | 8.312% | 0% | 0% | 0% | 7.125% | 9.5% | 11.88% | 0% | 0% | 0%
3 | 11% | 9.625% | 6.875% | 0% | 0% | 0% | 11% | 12.38% | 13.75% | 0% | 0% | 0% | 9.625% | 8.25% | 9.625% | 0% | 0% | 0% | 8.25% | 11% | 13.75% | 0% | 0% | 0%
4 | 9% | 7.875% | 5.625% | 0% | 0% | 0% | 9% | 10.12% | 11.25% | 0% | 0% | 0% | 7.875% | 6.75% | 7.875% | 0% | 0% | 0% | 6.75% | 9% | 11.25% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## DownActivation, 2040, Summer
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 12% | 10.5% | 7.5% | 0% | 0% | 0% | 12% | 13.5% | 15% | 0% | 0% | 0% | 10.5% | 9% | 10.5% | 0% | 0% | 0% | 9% | 12% | 15% | 0% | 0% | 0%
1 | 12.6% | 11.03% | 7.875% | 0% | 0% | 0% | 12.6% | 14.17% | 15.75% | 0% | 0% | 0% | 11.03% | 9.45% | 11.03% | 0% | 0% | 0% | 9.45% | 12.6% | 15.75% | 0% | 0% | 0%
2 | 11.4% | 9.975% | 7.125% | 0% | 0% | 0% | 11.4% | 12.82% | 14.25% | 0% | 0% | 0% | 9.975% | 8.55% | 9.975% | 0% | 0% | 0% | 8.55% | 11.4% | 14.25% | 0% | 0% | 0%
3 | 13.2% | 11.55% | 8.25% | 0% | 0% | 0% | 13.2% | 14.85% | 16.5% | 0% | 0% | 0% | 11.55% | 9.9% | 11.55% | 0% | 0% | 0% | 9.9% | 13.2% | 16.5% | 0% | 0% | 0%
4 | 10.8% | 9.45% | 6.75% | 0% | 0% | 0% | 10.8% | 12.15% | 13.5% | 0% | 0% | 0% | 9.45% | 8.1% | 9.45% | 0% | 0% | 0% | 8.1% | 10.8% | 13.5% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## DownActivation, 2050, Summer
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 14% | 12.25% | 8.75% | 0% | 0% | 0% | 14% | 15.75% | 17.5% | 0% | 0% | 0% | 12.25% | 10.5% | 12.25% | 0% | 0% | 0% | 10.5% | 14% | 17.5% | 0% | 0% | 0%
1 | 14.7% | 12.86% | 9.188% | 0% | 0% | 0% | 14.7% | 16.54% | 18.38% | 0% | 0% | 0% | 12.86% | 11.03% | 12.86% | 0% | 0% | 0% | 11.03% | 14.7% | 18.38% | 0% | 0% | 0%
2 | 13.3% | 11.64% | 8.312% | 0% | 0% | 0% | 13.3% | 14.96% | 16.62% | 0% | 0% | 0% | 11.64% | 9.975% | 11.64% | 0% | 0% | 0% | 9.975% | 13.3% | 16.62% | 0% | 0% | 0%
3 | 15.4% | 13.48% | 9.625% | 0% | 0% | 0% | 15.4% | 17.33% | 19.25% | 0% | 0% | 0% | 13.48% | 11.55% | 13.48% | 0% | 0% | 0% | 11.55% | 15.4% | 19.25% | 0% | 0% | 0%
4 | 12.6% | 11.03% | 7.875% | 0% | 0% | 0% | 12.6% | 14.18% | 15.75% | 0% | 0% | 0% | 11.03% | 9.45% | 11.03% | 0% | 0% | 0% | 9.45% | 12.6% | 15.75% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## UpActivation, 2020, Summer
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 0% | 45% | 46% | 40% | 0% | 0% | 0% | 29% | 30% | 30% | 0% | 0% | 0% | 28% | 28% | 32% | 0% | 0% | 0% | 27% | 27% | 27%
1 | 0% | 0% | 0% | 47.25% | 48.3% | 42% | 0% | 0% | 0% | 30.45% | 31.5% | 31.5% | 0% | 0% | 0% | 29.4% | 29.4% | 33.6% | 0% | 0% | 0% | 28.35% | 28.35% | 28.35%
2 | 0% | 0% | 0% | 42.75% | 43.7% | 38% | 0% | 0% | 0% | 27.55% | 28.5% | 28.5% | 0% | 0% | 0% | 26.6% | 26.6% | 30.4% | 0% | 0% | 0% | 25.65% | 25.65% | 25.65%
3 | 0% | 0% | 0% | 49.5% | 50.6% | 44% | 0% | 0% | 0% | 31.9% | 33% | 33% | 0% | 0% | 0% | 30.8% | 30.8% | 35.2% | 0% | 0% | 0% | 29.7% | 29.7% | 29.7%
4 | 0% | 0% | 0% | 40.5% | 41.4% | 36% | 0% | 0% | 0% | 26.1% | 27% | 27% | 0% | 0% | 0% | 25.2% | 25.2% | 28.8% | 0% | 0% | 0% | 24.3% | 24.3% | 24.3%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 17th, 2021

## UpActivation, 2030, Summer
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 0% | 56.25% | 57.5% | 50% | 0% | 0% | 0% | 36.25% | 37.5% | 37.5% | 0% | 0% | 0% | 35% | 35% | 40% | 0% | 0% | 0% | 33.75% | 33.75% | 33.75%
1 | 0% | 0% | 0% | 59.06% | 60.38% | 52.5% | 0% | 0% | 0% | 38.06% | 39.38% | 39.38% | 0% | 0% | 0% | 36.75% | 36.75% | 42% | 0% | 0% | 0% | 35.44% | 35.44% | 35.44%
2 | 0% | 0% | 0% | 53.44% | 54.62% | 47.5% | 0% | 0% | 0% | 34.44% | 35.62% | 35.62% | 0% | 0% | 0% | 33.25% | 33.25% | 38% | 0% | 0% | 0% | 32.06% | 32.06% | 32.06%
3 | 0% | 0% | 0% | 61.88% | 63.25% | 55% | 0% | 0% | 0% | 39.88% | 41.25% | 41.25% | 0% | 0% | 0% | 38.5% | 38.5% | 44% | 0% | 0% | 0% | 37.13% | 37.13% | 37.13%
4 | 0% | 0% | 0% | 50.63% | 51.75% | 45% | 0% | 0% | 0% | 32.63% | 33.75% | 33.75% | 0% | 0% | 0% | 31.5% | 31.5% | 36% | 0% | 0% | 0% | 30.38% | 30.38% | 30.38%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## UpActivation, 2040, Summer
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 0% | 67.5% | 69% | 60% | 0% | 0% | 0% | 43.5% | 45% | 45% | 0% | 0% | 0% | 42% | 42% | 48% | 0% | 0% | 0% | 40.5% | 40.5% | 40.5%
1 | 0% | 0% | 0% | 70.88% | 72.45% | 63% | 0% | 0% | 0% | 45.67% | 47.25% | 47.25% | 0% | 0% | 0% | 44.1% | 44.1% | 50.4% | 0% | 0% | 0% | 42.52% | 42.52% | 42.52%
2 | 0% | 0% | 0% | 64.12% | 65.55% | 57% | 0% | 0% | 0% | 41.32% | 42.75% | 42.75% | 0% | 0% | 0% | 39.9% | 39.9% | 45.6% | 0% | 0% | 0% | 38.48% | 38.48% | 38.48%
3 | 0% | 0% | 0% | 74.25% | 75.9% | 66% | 0% | 0% | 0% | 47.85% | 49.5% | 49.5% | 0% | 0% | 0% | 46.2% | 46.2% | 52.8% | 0% | 0% | 0% | 44.55% | 44.55% | 44.55%
4 | 0% | 0% | 0% | 60.75% | 62.1% | 54% | 0% | 0% | 0% | 39.15% | 40.5% | 40.5% | 0% | 0% | 0% | 37.8% | 37.8% | 43.2% | 0% | 0% | 0% | 36.45% | 36.45% | 36.45%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## UpActivation, 2050, Summer
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 0% | 78.75% | 80.5% | 70% | 0% | 0% | 0% | 50.75% | 52.5% | 52.5% | 0% | 0% | 0% | 49% | 49% | 56% | 0% | 0% | 0% | 47.25% | 47.25% | 47.25%
1 | 0% | 0% | 0% | 82.69% | 84.53% | 73.5% | 0% | 0% | 0% | 53.29% | 55.12% | 55.12% | 0% | 0% | 0% | 51.45% | 51.45% | 58.8% | 0% | 0% | 0% | 49.61% | 49.61% | 49.61%
2 | 0% | 0% | 0% | 74.81% | 76.48% | 66.5% | 0% | 0% | 0% | 48.21% | 49.88% | 49.88% | 0% | 0% | 0% | 46.55% | 46.55% | 53.2% | 0% | 0% | 0% | 44.89% | 44.89% | 44.89%
3 | 0% | 0% | 0% | 86.63% | 88.55% | 77% | 0% | 0% | 0% | 55.83% | 57.75% | 57.75% | 0% | 0% | 0% | 53.9% | 53.9% | 61.6% | 0% | 0% | 0% | 51.98% | 51.98% | 51.98%
4 | 0% | 0% | 0% | 70.88% | 72.45% | 63% | 0% | 0% | 0% | 45.67% | 47.25% | 47.25% | 0% | 0% | 0% | 44.1% | 44.1% | 50.4% | 0% | 0% | 0% | 42.52% | 42.52% | 42.52%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021