## Scenarios
numScenarios | 1 | 100% | 20% | 20% | 20% | 20%
Growth-to-2020
2030 | 1
2040 | 1
2050 | 1

## Investment Cost NREL
Total Cost (4-h System), [$/KWh] | 2020 | 2030 | 2040 | 2050
Low Scenario | 345 | 143 | 115 | 87
Mid Scenario | 345 | 198 | 174 | 149
High Scenario | 345 | 248 | 248 | 248

## Investment Cost
| 2020 | 2030 | 2040 | 2050
S, [$/MVA] | 69000 | 39600 | 34800 | 29800
E, [$, MWh] | 276000 | 158400 | 139200 | 119200

## DownActivation, 2020, Winter
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 10% | 9% | 6% | 0% | 0% | 0% | 10% | 11% | 12% | 0% | 0% | 0% | 8% | 5% | 6% | 0% | 0% | 0% | 5% | 9% | 12% | 0% | 0% | 0%
1 | 10.5% | 9.45% | 6.3% | 0% | 0% | 0% | 10.5% | 11.55% | 12.6% | 0% | 0% | 0% | 8.4% | 5.25% | 6.3% | 0% | 0% | 0% | 5.25% | 9.45% | 12.6% | 0% | 0% | 0%
2 | 9.5% | 8.55% | 5.7% | 0% | 0% | 0% | 9.5% | 10.45% | 11.4% | 0% | 0% | 0% | 7.6% | 4.75% | 5.7% | 0% | 0% | 0% | 4.75% | 8.55% | 11.4% | 0% | 0% | 0%
3 | 11% | 9.9% | 6.6% | 0% | 0% | 0% | 11% | 12.1% | 13.2% | 0% | 0% | 0% | 8.8% | 5.5% | 6.6% | 0% | 0% | 0% | 5.5% | 9.9% | 13.2% | 0% | 0% | 0%
4 | 9% | 8.1% | 5.4% | 0% | 0% | 0% | 9% | 9.9% | 10.8% | 0% | 0% | 0% | 7.2% | 4.5% | 5.4% | 0% | 0% | 0% | 4.5% | 8.1% | 10.8% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## DownActivation, 2030, Winter
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 10% | 9% | 6% | 0% | 0% | 0% | 10% | 11% | 12% | 0% | 0% | 0% | 8% | 5% | 6% | 0% | 0% | 0% | 5% | 9% | 12% | 0% | 0% | 0%
1 | 10.5% | 9.45% | 6.3% | 0% | 0% | 0% | 10.5% | 11.55% | 12.6% | 0% | 0% | 0% | 8.4% | 5.25% | 6.3% | 0% | 0% | 0% | 5.25% | 9.45% | 12.6% | 0% | 0% | 0%
2 | 9.5% | 8.55% | 5.7% | 0% | 0% | 0% | 9.5% | 10.45% | 11.4% | 0% | 0% | 0% | 7.6% | 4.75% | 5.7% | 0% | 0% | 0% | 4.75% | 8.55% | 11.4% | 0% | 0% | 0%
3 | 11% | 9.9% | 6.6% | 0% | 0% | 0% | 11% | 12.1% | 13.2% | 0% | 0% | 0% | 8.8% | 5.5% | 6.6% | 0% | 0% | 0% | 5.5% | 9.9% | 13.2% | 0% | 0% | 0%
4 | 9% | 8.1% | 5.4% | 0% | 0% | 0% | 9% | 9.9% | 10.8% | 0% | 0% | 0% | 7.2% | 4.5% | 5.4% | 0% | 0% | 0% | 4.5% | 8.1% | 10.8% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## DownActivation, 2040, Winter
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 10% | 9% | 6% | 0% | 0% | 0% | 10% | 11% | 12% | 0% | 0% | 0% | 8% | 5% | 6% | 0% | 0% | 0% | 5% | 9% | 12% | 0% | 0% | 0%
1 | 10.5% | 9.45% | 6.3% | 0% | 0% | 0% | 10.5% | 11.55% | 12.6% | 0% | 0% | 0% | 8.4% | 5.25% | 6.3% | 0% | 0% | 0% | 5.25% | 9.45% | 12.6% | 0% | 0% | 0%
2 | 9.5% | 8.55% | 5.7% | 0% | 0% | 0% | 9.5% | 10.45% | 11.4% | 0% | 0% | 0% | 7.6% | 4.75% | 5.7% | 0% | 0% | 0% | 4.75% | 8.55% | 11.4% | 0% | 0% | 0%
3 | 11% | 9.9% | 6.6% | 0% | 0% | 0% | 11% | 12.1% | 13.2% | 0% | 0% | 0% | 8.8% | 5.5% | 6.6% | 0% | 0% | 0% | 5.5% | 9.9% | 13.2% | 0% | 0% | 0%
4 | 9% | 8.1% | 5.4% | 0% | 0% | 0% | 9% | 9.9% | 10.8% | 0% | 0% | 0% | 7.2% | 4.5% | 5.4% | 0% | 0% | 0% | 4.5% | 8.1% | 10.8% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## DownActivation, 2050, Winter
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 10% | 9% | 6% | 0% | 0% | 0% | 10% | 11% | 12% | 0% | 0% | 0% | 8% | 5% | 6% | 0% | 0% | 0% | 5% | 9% | 12% | 0% | 0% | 0%
1 | 10.5% | 9.45% | 6.3% | 0% | 0% | 0% | 10.5% | 11.55% | 12.6% | 0% | 0% | 0% | 8.4% | 5.25% | 6.3% | 0% | 0% | 0% | 5.25% | 9.45% | 12.6% | 0% | 0% | 0%
2 | 9.5% | 8.55% | 5.7% | 0% | 0% | 0% | 9.5% | 10.45% | 11.4% | 0% | 0% | 0% | 7.6% | 4.75% | 5.7% | 0% | 0% | 0% | 4.75% | 8.55% | 11.4% | 0% | 0% | 0%
3 | 11% | 9.9% | 6.6% | 0% | 0% | 0% | 11% | 12.1% | 13.2% | 0% | 0% | 0% | 8.8% | 5.5% | 6.6% | 0% | 0% | 0% | 5.5% | 9.9% | 13.2% | 0% | 0% | 0%
4 | 9% | 8.1% | 5.4% | 0% | 0% | 0% | 9% | 9.9% | 10.8% | 0% | 0% | 0% | 7.2% | 4.5% | 5.4% | 0% | 0% | 0% | 4.5% | 8.1% | 10.8% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## UpActivation, 2020, Winter
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 0% | 50% | 52% | 45% | 0% | 0% | 0% | 25% | 32% | 35% | 0% | 0% | 0% | 32% | 35% | 41% | 0% | 0% | 0% | 15% | 15% | 25%
1 | 0% | 0% | 0% | 52.5% | 54.6% | 47.25% | 0% | 0% | 0% | 26.25% | 33.6% | 36.75% | 0% | 0% | 0% | 33.6% | 36.75% | 43.05% | 0% | 0% | 0% | 15.75% | 15.75% | 26.25%
2 | 0% | 0% | 0% | 47.5% | 49.4% | 42.75% | 0% | 0% | 0% | 23.75% | 30.4% | 33.25% | 0% | 0% | 0% | 30.4% | 33.25% | 38.95% | 0% | 0% | 0% | 14.25% | 14.25% | 23.75%
3 | 0% | 0% | 0% | 55% | 57.2% | 49.5% | 0% | 0% | 0% | 27.5% | 35.2% | 38.5% | 0% | 0% | 0% | 35.2% | 38.5% | 45.1% | 0% | 0% | 0% | 16.5% | 16.5% | 27.5%
4 | 0% | 0% | 0% | 45% | 46.8% | 40.5% | 0% | 0% | 0% | 22.5% | 28.8% | 31.5% | 0% | 0% | 0% | 28.8% | 31.5% | 36.9% | 0% | 0% | 0% | 13.5% | 13.5% | 22.5%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## UpActivation, 2030, Winter
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 0% | 50% | 52% | 45% | 0% | 0% | 0% | 25% | 32% | 35% | 0% | 0% | 0% | 32% | 35% | 41% | 0% | 0% | 0% | 15% | 15% | 25%
1 | 0% | 0% | 0% | 52.5% | 54.6% | 47.25% | 0% | 0% | 0% | 26.25% | 33.6% | 36.75% | 0% | 0% | 0% | 33.6% | 36.75% | 43.05% | 0% | 0% | 0% | 15.75% | 15.75% | 26.25%
2 | 0% | 0% | 0% | 47.5% | 49.4% | 42.75% | 0% | 0% | 0% | 23.75% | 30.4% | 33.25% | 0% | 0% | 0% | 30.4% | 33.25% | 38.95% | 0% | 0% | 0% | 14.25% | 14.25% | 23.75%
3 | 0% | 0% | 0% | 55% | 57.2% | 49.5% | 0% | 0% | 0% | 27.5% | 35.2% | 38.5% | 0% | 0% | 0% | 35.2% | 38.5% | 45.1% | 0% | 0% | 0% | 16.5% | 16.5% | 27.5%
4 | 0% | 0% | 0% | 45% | 46.8% | 40.5% | 0% | 0% | 0% | 22.5% | 28.8% | 31.5% | 0% | 0% | 0% | 28.8% | 31.5% | 36.9% | 0% | 0% | 0% | 13.5% | 13.5% | 22.5%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## UpActivation, 2040, Winter
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 0% | 50% | 52% | 45% | 0% | 0% | 0% | 25% | 32% | 35% | 0% | 0% | 0% | 32% | 35% | 41% | 0% | 0% | 0% | 15% | 15% | 25%
1 | 0% | 0% | 0% | 52.5% | 54.6% | 47.25% | 0% | 0% | 0% | 26.25% | 33.6% | 36.75% | 0% | 0% | 0% | 33.6% | 36.75% | 43.05% | 0% | 0% | 0% | 15.75% | 15.75% | 26.25%
2 | 0% | 0% | 0% | 47.5% | 49.4% | 42.75% | 0% | 0% | 0% | 23.75% | 30.4% | 33.25% | 0% | 0% | 0% | 30.4% | 33.25% | 38.95% | 0% | 0% | 0% | 14.25% | 14.25% | 23.75%
3 | 0% | 0% | 0% | 55% | 57.2% | 49.5% | 0% | 0% | 0% | 27.5% | 35.2% | 38.5% | 0% | 0% | 0% | 35.2% | 38.5% | 45.1% | 0% | 0% | 0% | 16.5% | 16.5% | 27.5%
4 | 0% | 0% | 0% | 45% | 46.8% | 40.5% | 0% | 0% | 0% | 22.5% | 28.8% | 31.5% | 0% | 0% | 0% | 28.8% | 31.5% | 36.9% | 0% | 0% | 0% | 13.5% | 13.5% | 22.5%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## UpActivation, 2050, Winter
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 0% | 50% | 52% | 45% | 0% | 0% | 0% | 25% | 32% | 35% | 0% | 0% | 0% | 32% | 35% | 41% | 0% | 0% | 0% | 15% | 15% | 25%
1 | 0% | 0% | 0% | 52.5% | 54.6% | 47.25% | 0% | 0% | 0% | 26.25% | 33.6% | 36.75% | 0% | 0% | 0% | 33.6% | 36.75% | 43.05% | 0% | 0% | 0% | 15.75% | 15.75% | 26.25%
2 | 0% | 0% | 0% | 47.5% | 49.4% | 42.75% | 0% | 0% | 0% | 23.75% | 30.4% | 33.25% | 0% | 0% | 0% | 30.4% | 33.25% | 38.95% | 0% | 0% | 0% | 14.25% | 14.25% | 23.75%
3 | 0% | 0% | 0% | 55% | 57.2% | 49.5% | 0% | 0% | 0% | 27.5% | 35.2% | 38.5% | 0% | 0% | 0% | 35.2% | 38.5% | 45.1% | 0% | 0% | 0% | 16.5% | 16.5% | 27.5%
4 | 0% | 0% | 0% | 45% | 46.8% | 40.5% | 0% | 0% | 0% | 22.5% | 28.8% | 31.5% | 0% | 0% | 0% | 28.8% | 31.5% | 36.9% | 0% | 0% | 0% | 13.5% | 13.5% | 22.5%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## DownActivation, 2020, Summer
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 8% | 7% | 5% | 0% | 0% | 0% | 8% | 9% | 10% | 0% | 0% | 0% | 7% | 6% | 7% | 0% | 0% | 0% | 6% | 8% | 10% | 0% | 0% | 0%
1 | 8.4% | 7.35% | 5.25% | 0% | 0% | 0% | 8.4% | 9.45% | 10.5% | 0% | 0% | 0% | 7.35% | 6.3% | 7.35% | 0% | 0% | 0% | 6.3% | 8.4% | 10.5% | 0% | 0% | 0%
2 | 7.6% | 6.65% | 4.75% | 0% | 0% | 0% | 7.6% | 8.55% | 9.5% | 0% | 0% | 0% | 6.65% | 5.7% | 6.65% | 0% | 0% | 0% | 5.7% | 7.6% | 9.5% | 0% | 0% | 0%
3 | 8.8% | 7.7% | 5.5% | 0% | 0% | 0% | 8.8% | 9.9% | 11% | 0% | 0% | 0% | 7.7% | 6.6% | 7.7% | 0% | 0% | 0% | 6.6% | 8.8% | 11% | 0% | 0% | 0%
4 | 7.2% | 6.3% | 4.5% | 0% | 0% | 0% | 7.2% | 8.1% | 9% | 0% | 0% | 0% | 6.3% | 5.4% | 6.3% | 0% | 0% | 0% | 5.4% | 7.2% | 9% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 17th, 2021

## DownActivation, 2030, Summer
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 8% | 7% | 5% | 0% | 0% | 0% | 8% | 9% | 10% | 0% | 0% | 0% | 7% | 6% | 7% | 0% | 0% | 0% | 6% | 8% | 10% | 0% | 0% | 0%
1 | 8.4% | 7.35% | 5.25% | 0% | 0% | 0% | 8.4% | 9.45% | 10.5% | 0% | 0% | 0% | 7.35% | 6.3% | 7.35% | 0% | 0% | 0% | 6.3% | 8.4% | 10.5% | 0% | 0% | 0%
2 | 7.6% | 6.65% | 4.75% | 0% | 0% | 0% | 7.6% | 8.55% | 9.5% | 0% | 0% | 0% | 6.65% | 5.7% | 6.65% | 0% | 0% | 0% | 5.7% | 7.6% | 9.5% | 0% | 0% | 0%
3 | 8.8% | 7.7% | 5.5% | 0% | 0% | 0% | 8.8% | 9.9% | 11% | 0% | 0% | 0% | 7.7% | 6.6% | 7.7% | 0% | 0% | 0% | 6.6% | 8.8% | 11% | 0% | 0% | 0%
4 | 7.2% | 6.3% | 4.5% | 0% | 0% | 0% | 7.2% | 8.1% | 9% | 0% | 0% | 0% | 6.3% | 5.4% | 6.3% | 0% | 0% | 0% | 5.4% | 7.2% | 9% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## DownActivation, 2040, Summer
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 8% | 7% | 5% | 0% | 0% | 0% | 8% | 9% | 10% | 0% | 0% | 0% | 7% | 6% | 7% | 0% | 0% | 0% | 6% | 8% | 10% | 0% | 0% | 0%
1 | 8.4% | 7.35% | 5.25% | 0% | 0% | 0% | 8.4% | 9.45% | 10.5% | 0% | 0% | 0% | 7.35% | 6.3% | 7.35% | 0% | 0% | 0% | 6.3% | 8.4% | 10.5% | 0% | 0% | 0%
2 | 7.6% | 6.65% | 4.75% | 0% | 0% | 0% | 7.6% | 8.55% | 9.5% | 0% | 0% | 0% | 6.65% | 5.7% | 6.65% | 0% | 0% | 0% | 5.7% | 7.6% | 9.5% | 0% | 0% | 0%
3 | 8.8% | 7.7% | 5.5% | 0% | 0% | 0% | 8.8% | 9.9% | 11% | 0% | 0% | 0% | 7.7% | 6.6% | 7.7% | 0% | 0% | 0% | 6.6% | 8.8% | 11% | 0% | 0% | 0%
4 | 7.2% | 6.3% | 4.5% | 0% | 0% | 0% | 7.2% | 8.1% | 9% | 0% | 0% | 0% | 6.3% | 5.4% | 6.3% | 0% | 0% | 0% | 5.4% | 7.2% | 9% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## DownActivation, 2050, Summer
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 8% | 7% | 5% | 0% | 0% | 0% | 8% | 9% | 10% | 0% | 0% | 0% | 7% | 6% | 7% | 0% | 0% | 0% | 6% | 8% | 10% | 0% | 0% | 0%
1 | 8.4% | 7.35% | 5.25% | 0% | 0% | 0% | 8.4% | 9.45% | 10.5% | 0% | 0% | 0% | 7.35% | 6.3% | 7.35% | 0% | 0% | 0% | 6.3% | 8.4% | 10.5% | 0% | 0% | 0%
2 | 7.6% | 6.65% | 4.75% | 0% | 0% | 0% | 7.6% | 8.55% | 9.5% | 0% | 0% | 0% | 6.65% | 5.7% | 6.65% | 0% | 0% | 0% | 5.7% | 7.6% | 9.5% | 0% | 0% | 0%
3 | 8.8% | 7.7% | 5.5% | 0% | 0% | 0% | 8.8% | 9.9% | 11% | 0% | 0% | 0% | 7.7% | 6.6% | 7.7% | 0% | 0% | 0% | 6.6% | 8.8% | 11% | 0% | 0% | 0%
4 | 7.2% | 6.3% | 4.5% | 0% | 0% | 0% | 7.2% | 8.1% | 9% | 0% | 0% | 0% | 6.3% | 5.4% | 6.3% | 0% | 0% | 0% | 5.4% | 7.2% | 9% | 0% | 0% | 0%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## UpActivation, 2020, Summer
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 0% | 45% | 46% | 40% | 0% | 0% | 0% | 29% | 30% | 30% | 0% | 0% | 0% | 28% | 28% | 32% | 0% | 0% | 0% | 27% | 27% | 27%
1 | 0% | 0% | 0% | 47.25% | 48.3% | 42% | 0% | 0% | 0% | 30.45% | 31.5% | 31.5% | 0% | 0% | 0% | 29.4% | 29.4% | 33.6% | 0% | 0% | 0% | 28.35% | 28.35% | 28.35%
2 | 0% | 0% | 0% | 42.75% | 43.7% | 38% | 0% | 0% | 0% | 27.55% | 28.5% | 28.5% | 0% | 0% | 0% | 26.6% | 26.6% | 30.4% | 0% | 0% | 0% | 25.65% | 25.65% | 25.65%
3 | 0% | 0% | 0% | 49.5% | 50.6% | 44% | 0% | 0% | 0% | 31.9% | 33% | 33% | 0% | 0% | 0% | 30.8% | 30.8% | 35.2% | 0% | 0% | 0% | 29.7% | 29.7% | 29.7%
4 | 0% | 0% | 0% | 40.5% | 41.4% | 36% | 0% | 0% | 0% | 26.1% | 27% | 27% | 0% | 0% | 0% | 25.2% | 25.2% | 28.8% | 0% | 0% | 0% | 24.3% | 24.3% | 24.3%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 17th, 2021

## UpActivation, 2030, Summer
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 0% | 45% | 46% | 40% | 0% | 0% | 0% | 29% | 30% | 30% | 0% | 0% | 0% | 28% | 28% | 32% | 0% | 0% | 0% | 27% | 27% | 27%
1 | 0% | 0% | 0% | 47.25% | 48.3% | 42% | 0% | 0% | 0% | 30.45% | 31.5% | 31.5% | 0% | 0% | 0% | 29.4% | 29.4% | 33.6% | 0% | 0% | 0% | 28.35% | 28.35% | 28.35%
2 | 0% | 0% | 0% | 42.75% | 43.7% | 38% | 0% | 0% | 0% | 27.55% | 28.5% | 28.5% | 0% | 0% | 0% | 26.6% | 26.6% | 30.4% | 0% | 0% | 0% | 25.65% | 25.65% | 25.65%
3 | 0% | 0% | 0% | 49.5% | 50.6% | 44% | 0% | 0% | 0% | 31.9% | 33% | 33% | 0% | 0% | 0% | 30.8% | 30.8% | 35.2% | 0% | 0% | 0% | 29.7% | 29.7% | 29.7%
4 | 0% | 0% | 0% | 40.5% | 41.4% | 36% | 0% | 0% | 0% | 26.1% | 27% | 27% | 0% | 0% | 0% | 25.2% | 25.2% | 28.8% | 0% | 0% | 0% | 24.3% | 24.3% | 24.3%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## UpActivation, 2040, Summer
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 0% | 45% | 46% | 40% | 0% | 0% | 0% | 29% | 30% | 30% | 0% | 0% | 0% | 28% | 28% | 32% | 0% | 0% | 0% | 27% | 27% | 27%
1 | 0% | 0% | 0% | 47.25% | 48.3% | 42% | 0% | 0% | 0% | 30.45% | 31.5% | 31.5% | 0% | 0% | 0% | 29.4% | 29.4% | 33.6% | 0% | 0% | 0% | 28.35% | 28.35% | 28.35%
2 | 0% | 0% | 0% | 42.75% | 43.7% | 38% | 0% | 0% | 0% | 27.55% | 28.5% | 28.5% | 0% | 0% | 0% | 26.6% | 26.6% | 30.4% | 0% | 0% | 0% | 25.65% | 25.65% | 25.65%
3 | 0% | 0% | 0% | 49.5% | 50.6% | 44% | 0% | 0% | 0% | 31.9% | 33% | 33% | 0% | 0% | 0% | 30.8% | 30.8% | 35.2% | 0% | 0% | 0% | 29.7% | 29.7% | 29.7%
4 | 0% | 0% | 0% | 40.5% | 41.4% | 36% | 0% | 0% | 0% | 26.1% | 27% | 27% | 0% | 0% | 0% | 25.2% | 25.2% | 28.8% | 0% | 0% | 0% | 24.3% | 24.3% | 24.3%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021

## UpActivation, 2050, Summer
Scenario | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
0 | 0% | 0% | 0% | 45% | 46% | 40% | 0% | 0% | 0% | 29% | 30% | 30% | 0% | 0% | 0% | 28% | 28% | 32% | 0% | 0% | 0% | 27% | 27% | 27%
1 | 0% | 0% | 0% | 47.25% | 48.3% | 42% | 0% | 0% | 0% | 30.45% | 31.5% | 31.5% | 0% | 0% | 0% | 29.4% | 29.4% | 33.6% | 0% | 0% | 0% | 28.35% | 28.35% | 28.35%
2 | 0% | 0% | 0% | 42.75% | 43.7% | 38% | 0% | 0% | 0% | 27.55% | 28.5% | 28.5% | 0% | 0% | 0% | 26.6% | 26.6% | 30.4% | 0% | 0% | 0% | 25.65% | 25.65% | 25.65%
3 | 0% | 0% | 0% | 49.5% | 50.6% | 44% | 0% | 0% | 0% | 31.9% | 33% | 33% | 0% | 0% | 0% | 30.8% | 30.8% | 35.2% | 0% | 0% | 0% | 29.7% | 29.7% | 29.7%
4 | 0% | 0% | 0% | 40.5% | 41.4% | 36% | 0% | 0% | 0% | 26.1% | 27% | 27% | 0% | 0% | 0% | 25.2% | 25.2% | 28.8% | 0% | 0% | 0% | 24.3% | 24.3% | 24.3%
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 15th, 2021
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 14th, 2021
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 16th, 2021
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 13th, 2021
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: January 17th, 2021